DEPARTMENT OF PHYSIOLOGY

ALL INDIA INSTITUTE OF MEDICAL SCIENCES

ANSARI NAGAR, NEW DELHI – 110 029

DATED:  05.07.2010

Subject: Short rate enquiry for the items to be purchased under Machinery & Equipment (Plan)

during the year 2010-11.

Dear M/s.

A short rate enquiry is hereby floated/invited for the following items required by Department of Physiology, AIIMS, New Delhi.

|  | Items for purchase through departmental short rate enquiry |  |
| --- | --- | --- |
| Sr. No. | Name of item | Qty. |
| 1. | Refrigerated flammable storage cabinet | 1 No. |
| 2. | Dissecting Stereo Zoom Microscope | 1 No. |
| 3. | Weighing balance for animals | 1 No. |
| 4. | Water Bath with mixer | 2 Nos. |
| 5. | Electric Chimney | 1 No. |
| 6. | Actigram | 2 Nos. |

Specifications for each item have been enclosed.

Terms & Conditions:

The quotations should be submitted to the Professor & Head, Department of Physiology, Room No. 2006, AIIMS, New Delhi-29  duly sealed marked  and sent  by post/per bearer by  30th July, 2010 up to 5.00 P.M.  Quotation for each item should be sealed in separate envelops and clearly written the item name on top of envelop.

The make of the article(s) offered should invariably be quoted. All quotations should be typed written of ink.  All overwriting and erased entries will be deleted from the quotations. The rates should be valid at least for SIX MONTHS.

VAT/Sales tax or any other kind of tax(s) must be separately mentioned against each item. In case no sales tax is chargeable, prices must be quoted as NET.

Warranty/Guarantee: As per AIIMS norms i.e. 5 years comprehensive warranty including labour and spares.

The firm should be able to give demonstration of the item if required.

Contd....P/2..

:   2   :

The payment will be made against delivery and satisfactory installation of the item through electronically viz RTGS/NEFT. The following information also mention in the quotation.

- Name of the beneficiary:

- Account No. of the beneficiary:

- IFCS code of the bank/branch:

The quantity can be increased or decreased to any extent depending upon the actual requirement.

The Professor  & Head of the Department reserves the right to cancel/reject full or any part of the rate enquiry which generally do not fulfil the conditions stipulated in the rate enquiry.

Note: The specifications of the items are also available at the Institute website www.aiims.edu &

www.aiims.ac.in

Dr. D. Ghosh                                                                              Dr. J. Sengupta

Professor-in-charge, Stores                                                        Professor & Head

- REFRIGERATED FLAMMABLE STORAGE CABINET    1 No.

Specifications:

The machine should have:

- Gliding door with ground gasket

- Three epoxy coated wire shelves per door

- Exterior Dimensions: 33”x29”x74.5” (WxDxH)

- Interior Dimensions: 29”x24”x55” (WxDxH)

- Temperature range: 2-10ᵒC

- Capacity : 28/790 (ft³ /Liters)

- Stainless steel bottom pan to resist corrosive spills

- Microprocessor-controlled temperature with digital display

- On/Off interior light switch

- Appropriate electric stabilizer

- Strong service support in India

- Five year full warranty as per AIIMS norms

- STEREO ZOOM MICROSCOPE				1 No.

Specifications:

- Optical System: Parallel Optics Zoom System

- Magnification:  8-64x

- Zoom Range: 0.8x-6.4x

- Zoom Ratio :  1:8

- Objective: Plan APO 0.5XW.D.  110mm approx

- Viewing Heads: Low Eye Level Binocular inclined at 20ᵒ, Inter-

Pupillary Distance: 48-75mm

- Eye Piece: C-W10X (F N 22) with built in Di-optic Adjustment -5 to +5

- Illumination: Incident & Transmitted LED with Brightness Control

- Stand: Plain Coarse Focusing

- Strong service support in India

- Five year full warranty as per AIIMS norms

- WEIGHING BALANCE FOR ANIMALS                            1 No.

Specifications:

The equipment should be table top scale and should have:

- Big rust proof stainless steel pan (size 300x300 mm)

- Capacity to measure a maximum of 5 Kg.

- Least count of 0.1 gm.

- Bight red LED display with easy readability

- Built in rechargeable battery

- Environmentally protected load cell

- Automatic reset

- Strong service support in India

- Five year full warranty as per AIIMS norms

- Water Bath with Mixer                                       2 Nos.

Specifications:

The system should have

- Double walled chamber made of SS 304

- The temperature is controlled by Digital temp. controller

from 5ᵒC above room temp. to 80ᵒC

- Fitted with stirrer having SS rod and speed regulator

- Supplied with Acrylic Rack for accommodating Eppendrof tubes

And test tubes (10x75,  12x75, 12x100) mm.

- Size of working chamber: 450X150X400 mm (LxHxW)

- Strong service support in India

- Five year full warranty as per AIIMS norms

- Electric Chimney:                                                1 No.

Specifications:

The chimney should have

- Electronic control,

- width more than 90 cm,

- Suction capacity more than 850 m³/h,

- Washable filter and noise less

- Strong service support in India

- Five year full warranty as per AIIMS norms

- Actigraph                                                              2 Nos.

Specification:

A wrist band lightweight compact device

required for recording sleep, activity, energy

expenditure and steps having long battery life

and memory.

Strong service support in India

Five year full warranty as per AIIMS norms